## AC Calculator
Belgian Deterministic Air-Conditioning Calculator
Length (m) | 6 | qsol
Width (m) | 5 | Fs
Height (m) | 2.6 | Ueq
Window area (m²) | 5
Orientation | West
Shading | Internal blinds
Building quality | Recent insulated
People | 3
Equipment load (W) | 250
ACH | 0.5
Safety factor | 1.1
Area (m²)
Volume (m³)
Envelope area (m²)
Qtrans (W)
Qsol (W)
People sensible (W)
People latent (W)
Qvent sensible (W)
Qvent latent (W)
Qs sensible total (W)
Ql latent total (W)
Qt total (W)
Design load (W)
Design load (kW)
Recommended size